Data Centre High Water Use Application

The information you provide in this form will enable us to conduct a servicing assessment for your development proposal. It will help us to assess the capacity of our existing infrastructure to support the proposed development and size any upgrades, if required.

Where the development is staged, information should be provided for both staged and ultimate scenarios.
 
1. Application information

| Applicant |  |
| --- | --- |
| Project name |  |
| Project address |  |

2. Project details and stage

| Water cooling technology |  |
| --- | --- |
| Water use efficiency (L/kWh) |  |
| Comments / extra detail |  |
| What development stage is your project at? Examples: expansion of existing site, construction to service existing contracts, new site, land development, other |  |
| Comments |  |

3. General water and sewer supply requirements

Sites will require water services for general demands e.g. toilets, kitchens, laundries, cleaners’ rooms, irrigation etc. 

a) Please estimate your water and drinking water requirements and discharge requirements. 
We suggest you use AS3500.1 and AS3500.2 for your estimations.

| General service demands (ultimate) |  |
| --- | --- |
| Service | L/sec (maximum) |
| Water |  |
| Sewer |  |
| Recycled water (mandated third pipe areas) |  |

b) What are your estimated fire service requirements?

| Fire sprinkler demand (l/s) |  |
| --- | --- |
| Fire hydrant demand (l/s) |  |
| Total fire demand (l/s) |  |
| Fire tank capacity (ML) |  |

- How will the site's overall demands be managed during a fire event?

As an example, some large sites may have cooling towers that continue to operate during a fire. 
This impacts the capacity of the fire system to draw water from the system if not adequately accounted for.

4. Large scale water and sewer supply requirements

- Please provide an overview of water requirements, excluding general demands.

| Development stage | Financial year | Annual water usage (ML) | Size (MW) |
| --- | --- | --- | --- |
| Year 1 |  |  |  |
| Year 2 |  |  |  |
| Year 3 |  |  |  |
| Year 4 |  |  |  |
| Year 5 |  |  |  |
| Year 6 |  |  |  |
| Year 7 |  |  |  |
| Year 8 |  |  |  |
| Year 9 |  |  |  |
| Year 10 |  |  |  |
| Ultimate (if greater than Year 10) |  |  |  |

The annual water use profile is important to design water supply systems. 

b) Please provide details of your water requirements, excluding general demands.

|  | Y1 Avg per day (ML) | Y1 Peak per day (ML) | Y1 Total per month (ML) | Y5 Avg per day (ML) | Y5 Peak per day (ML) | Y5 Total per month (ML) | Y10 Avg per day (ML) | Y10 Peak per day (ML) | Y10 Total per month (ML) | Ultimate Avg per day (ML) | Ultimate Peak per day (ML) | Ultimate Total per month (ML) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Jan |  |  |  |  |  |  |  |  |  |  |  |  |
| Feb |  |  |  |  |  |  |  |  |  |  |  |  |
| Mar |  |  |  |  |  |  |  |  |  |  |  |  |
| Apr |  |  |  |  |  |  |  |  |  |  |  |  |
| May |  |  |  |  |  |  |  |  |  |  |  |  |
| Jun |  |  |  |  |  |  |  |  |  |  |  |  |
| Jul |  |  |  |  |  |  |  |  |  |  |  |  |
| Aug |  |  |  |  |  |  |  |  |  |  |  |  |
| Sept |  |  |  |  |  |  |  |  |  |  |  |  |
| Oct |  |  |  |  |  |  |  |  |  |  |  |  |
| Nov |  |  |  |  |  |  |  |  |  |  |  |  |
| Dec |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual total (ML per year) |  |  |  |  |  |  |  |  |  |  |  |  |

- How will redundancy to the site be provided in the event of a water outage?

- What is your on-site storage capacity ML? (to buffer peak demands and provide level of redundancy)

5. Sewer (trade waste) requirements

The Trade Waste discharge profile is important to assess trade waste requirements. 

a) Please provide an estimate of trade waste discharge profile below.

| Trade waste discharge | Peak L/sec | Peak kL/hr | Peak kL/day | Total ML/year |
| --- | --- | --- | --- | --- |
| Year 1 |  |  |  |  |
| Year 5 |  |  |  |  |
| Year 10 |  |  |  |  |
| Ultimate |  |  |  |  |

- % of flows returned to sewer: __________ %

- Details of sewer discharge. Provide a high-level overview of the source of the sewer discharge / trade waste e.g. cooling towers, boilers, industrial process water etc.